ECEN 3031 Methods Lab #2

Experiment #2

Non-ideal Operational Amplifier Properties

Introduction:


Every real Op-AMP has its own DC, transient and AC characteristics e.g. finite gain, settling time or slew rate and bandwidth.  For designs, which are expected to exhibit stable operation (meet design specifications) over long time intervals and wide variations in temperature, an OP-AMP with adequate DC and AC characteristics must be selected to ensure such behavior.  It is for these reasons the engineer must understand the limitations these parameters inflict on actual circuits.  This laboratory will introduce the student to the non ideal properties of op amps.

parameters to be investigate include: 

· IB - Input bias current.

· Vos - Input off set voltage.

· SR - Slew Rate or full power bandwidth (fp) - The maximal rate of change in the output voltage for a step change in the input.  In general positive and negative slew rates are not equal.

· AVol - Open loop DC voltage gain.

· fu or GBP - Unity gain bandwidth or gain bandwidth product.  As is implied by GBP name is the product of Avol  and f3dB.

· CMRR - Common mode rejection ratio is a figure of merit for the ratio if gain of the differential signals to the gain of the difference between (subtraction of common signal to both inputs) common signal at both inouts.

· Rin - The driving point impedance at the inputs.

· Ro - The driving point impedance at the output.


The purpose of the reference Appendix below is to define and review some of the significant OP-AMP characteristics and how they are measured in this experiment.  Samples of test circuits for these characteristics are also provided for your understanding as well as measurement finite op amp properties.  See LM358/D Dual Low Power Operational Amplifier http://mot-sps.com/models/data/amp/LM358  or 

TL074 data sheet

http://www-s.ti.com/sc/psheets/slos080d/slos080d.pdf
TI products SPICE models

http://www.ti.com/sc/docs/msp/tools/macromod.htm
TL074 SPICE model

http://www.ti.com/sc/data/msp/models/tl074.301
For OP-AMP symbols, definitions and op amp parameters to be measure. see your text.

Laboratory Assignment

Objective:



Become familiar with op amp characteristics and data sheets.



Using the LM358 op amp, make the following measurements:

a) Input offset voltage

b) Slew rate, full power response

c) Input bias current, input offset current

d) Unity gain bandwidth

e) CMRR at 10, 60, 100 and 1KHz

f) Measure either Ro or Rin at DC


Refer to the data sheet in your linear data book and make a tabulation of measured versus expected parameters.

Equipment:



Op amp LM358 or TL074



Oscilloscope



Function Generator



A modest supply of 1% resistors 

Approach:

PreLab:
-    Make a table of the expected values and significance of each parameter.

· Print out some Pin-Out Diagrams, to help you construct the circuits.

· Prior coming to the lab, build up the following circuits, Fig. 2.1, 2.2 & 2.6.

· Here are some Web-sites to help you look up the Pin-Out Diagrams:


www.national.com

www.fairchildsemi.com

www.motorolla.com

LACK OF PRELAB PREPERATION IS GROUNDS FOR RECEIVING A ZERO FOR THE LAB.


Become thoroughly familiar with all of the non-ideal op amp parameters to be investigated and how they are measured prior to laboratory time.  Your notebook should contain all required test circuits and definitions of parameters to be measured.  Discuss the significance of each parameter and how it applies to a potential circuit design.  In measuring CMRR make both AVDiff and AVCM measurements.  Propose a method for measuring input impedance, output impedance and verify with PSPICE prior to lab.


Your measured op amp will not achieve the CMRR stated by the manufacture due to imbalance in the impedance paths between ac ground and each input.  Assuming 1% resistors and ignoring parasitic capacitors what is the highest possible CMRR achievable?  How does this compare to your measured data?  List as many sources of CMRR error which result from the presents of capacitive parasitics and relate this to your DC analysis.  Describe the effect poor CMRR properties would have on the measurement of your ECG or any differential signal.

 Procedure for measuring non-ideal op amp properties

A) DC Characteristics

The most significant DC characteristics of an OP-AMP are:

· Input offset voltage (Vos) & Common Mode Range (VCMR).

· Input bias current and input offset current.

· Open Loop gain – Avol.  You will not measure Avol.   Propose a method for measuring Avol.   

1. Input offset voltage (Vos) & Common Mode Range (VCMR)

Vos is the applied differential DC input voltage required to provide zero output voltage from an ideal generator.  Vos results in an OP-AMP due to internal mismatches in transistor parameters which arise at fabrication time.  A sample circuit to obtain Vos is given in Fig. 2.1.

Hint: Use a 50 Hz sawtooth. To find VCMR and VOS sweep Vin from VEE to VCC.

Use R2 equal to your generator impedance.

[image: image16.png]



Fig. 2.1  Input offset voltage test circuit




[image: image1.wmf]o

os

V

R

R

R

V

2

1

1

+

-

=


(2.1)

where R1 equals infinity and R2 equals the impedance of your sweep generator.  See the following discussion regarding R2 selection.

- Don’t forget to save the input and output offset voltage, and the XY form of this graph for future use in your write up.

.

2. Input bias current and  input offset current

a) Input bias current, IB
IB is the DC biasing current required at the inputs to provide a zero output voltage without any input signal or offset voltage present.

b) Input offset current, los
Again since the input transistors cannot be made identically equal, there are always some finite difference between the two input bias currents IB-and IB+ (or lB1 and 
[image: image2.wmf]2

B

l

).  This difference is referred as the input offset current los.

[image: image17.png]


The circuit below is usually used to measure input bias currents and input offset currents.

Fig. 2.2  Circuit for measurement of input bias currents and input offset voltage.

The results from the test circuit above are as follows:

· Switch 1 is opened
Vo = lB2R2
(2.2)

· Switch 2 is opened
Vo = lB1 R1
(2.3)

· Both switches are opened Vo = los R1
(2.4)

NOTE:
Normally, 100K( < R1 = R2 < 100M( 

C1 = C2 = .01 pF
The design engineer can minimize the effects of output offsets due to current mismatch by insuring that the effective DC resistance looking back from both the inverting and noninverting pins is identical.  This sets up an equivalent circuit identical to the IOS measurement set up. Also, keeping R1 and R2 small can be beneficial.  The Rs are selected based on the expected values of I and easily measured values for Vo.
[image: image3.wmf]
B) Large signal (> VBE) transient parameters full Power Response (fp)

Full power response fp is the maximum frequency at which rated output peak to peak can be supplied without significant distortion.  From the obtained value of slew rate (SR), fp can be calculated as shown below.  SR can be measure using the circuit of Figure 2.3 below.


Use VCMR from Part (1) less 1 Volt to set the value of the Square Wave used to drive the circuit of Figure 2.3 into slew rate limiting.    Can your opamp be used for  audio applications where the required signal is 24Vpp at 20KHz?  Explain.



[image: image4.wmf]tage

output vol

 

rated

;

2

º

=

pp

pp

p

V

V

SR

f

p


(2.6)

[image: image18.png]Rz = Roan

Vin

SR = AV/A Note: the positive SR is
ot equal the negative SR




Fig, 2.3 Slew rate and fp bandwidth test circuit.

- Don’t forget to save your output for your lab write up.

C) Small signal ac parameters

1) Unity Gain Bandwidth fc

Unity Gain Bandwidth fu  is the frequency range from “DC” to the frequency at which the open-loop gain crosses unity or 0dB but is more easily measured in the unity gain configuration by measuring the 3dB frequency in the unity gain configuration.  Explain why it might be easier to measure fc with a closed loop gain configuration of 10 in lieu in of the op amp being in the open loop configuration.   Using Figure 2.4 measure fu.  


If closed loop gain is given by:



[image: image5.wmf](

)

B

s

A

s

A

K

V

)

(

1

)

(

+

=



2.7

where 
[image: image6.wmf](

)

s

Avol

s

A

t

+

=

1

)

(

 show that the circuit of Figure 2.4 can be used to find fu for large A.
[image: image19.png]Open loop gain respor
Unity gain response

Vi 0d8 A

Vinpeak to peak < 600 m¥ Oade





Fig. 2.4  Unity gain bandwidth test circuit*

2) Common Mode Rejection Ratio (CMRR)


CMRR is the ratio of the differential voltage gain to the common mode voltage gain.  In other words, CMRR is a “figure of merit” comparing the gain for the differential signals with gain achieved by undesired common–mode signals.  CMMR decreases as a function of frequency due to the capacitive mismatch effects, specifically capacitive mismatch in the op amp as well as desired or parasitic path ways which unbalance the impedances seen looking back from the op amp inputs.  Due to the nonlinearity of the common-mode gain as well as the low amplitude nature, of  Acm, the full common-mode voltage swing must be used to measure CMRR.  See Fig. 2.1 as well as your measure data (also observe the data sheet) to ensure that you do not exceed the VCMR when measuring Acm.  A CMRR test circuit is given in Fig. 2.6.  During the test of Acm it is desirable that an identical; signal be present on both positive and negative inputs of the op amp.


In this circuit:




[image: image7.wmf]W

=

¢

=

K

R

R

1

1

1





[image: image8.wmf]W

=

¢

=

M

R

R

71

.

4

2

2



and


[image: image9.wmf]s

cm

1

2

e

e

 that 

so

R

R

@

>>


[image: image20.png]


*The Unity – Gain point is not significantly affected by the feedback if the close loop gain is much greater than unity. (e.g. Choose R2 > 100 R1 )

Fig. 2.6  Common-Mode Rejection Ratio Measurement Circuit

For well-balanced resistors (R1 = R1, R2 = R2), the signal at the two inputs is essentially a common-mode signal.  However, the imbalance of the OP-AMP produces an output error voltage eo.

From Fig. 2.6:




[image: image10.wmf]1

2

'

R

R

e

e

A

i

o

diff

=

=



(2.8




[image: image11.wmf]cm

o

cm

e

e

A

=



(2.9)

Since ecm 
[image: image12.wmf]@

 es for R2 >> R1



[image: image13.wmf]cm

o

i

o

cm

diff

e

e

e

e

A

A

CMRR

/

/

'

=

=



(2.10)

From (2.8)




[image: image14.wmf]o

i

e

R

R

e

2

1

=




(2.11)

Substituting (2.11) into (2.10) yields:




[image: image15.wmf]o

s

e

e

R

R

CMRR

1

2

=


(2.12)

or, in dB (decibels)



CMRR(dB) = 20 log CMRR
(2.13)

Write Up :
- Make sure you answer all questions in the procedure and through out the lab.

- Make your report short, concise and precise.

- Compare all values from datasheets in Pre-lab being sure to comment on reasons for any differences.

Op Amp SPICE Models

· LM358/D Dual Low Power Operational Amplifier

http://mot-sps.com/models/data/amp/LM358
* LM358 operational amplifier

* "macromodel" subcircuit

*

* connections:

*    1 -  non-inverting input

*    2 -  inverting input

*    3 -  positive power supply

*    4 -  negative power supply

*    5 -  output

*

.subckt LM358/MC  1 2 3 4 5

*

  c1   11 12 3.000E-12

  c2    6  7 6.000E-12

  cee  10 99 388.6E-15

  dc    5 53 dx

  de   54  5 dx

  dlp  90 91 dx

  dln  92 90 dx

  dp    4  3 dx

  egnd 99  0 poly(2) (3,0) (4,0) 0 .5 .5

  fb    7 99 poly(5) vb vc ve vlp vln 0 48.23E6

+ -50E6 50E6 50E6 -50E6

  ga    6  0 11 12 41.47E-6

  gcm   0  6 10 99 414.7E-12

  iee   3 10 dc 2.543E-6

  hlim 90  0 vlim 1K

  q1   11  2 13 qx

  q2   12  1 14 qx

  r2    6  9 100.0E3

  rc1   4 11 24.11E3

  rc2   4 12 24.11E3

  re1  13 10 3.043E3

  re2  14 10 3.043E3

  ree  10 99 78.65E6

  ro1   8  5 50

  ro2   7 99 25

  rp    3  4 37.62E3

  vb    9  0 dc 0

  vc    3 53 dc 1.800

  ve   54  4 dc .88

  vlim  7  8 dc 0

  vlp  91  0 dc 40

  vln   0 92 dc 40

  desd1  1  3 dx

  desd2  2  3 dx

.model dx D(Is=800.0E-18)

.model qx PNP(Is=800.0E-18 Bf=32.03)

.ends

· TL074 data sheet

http://www-s.ti.com/sc/psheets/slos080d/slos080d.pdf
TI products SPICE models

http://www.ti.com/sc/docs/msp/tools/macromod.htm
TL074 SPICE model

http://www.ti.com/sc/data/msp/models/tl074.301
_1007527104.unknown

_1054099268.unknown

_1060174851.unknown

_1060174850.unknown

_1007532023.unknown

_1054098807.unknown

_1007532088.unknown

_1007531997.unknown

_1007531968.unknown

_1007525029.unknown

_1007526523.unknown

_990961990.unknown

_990963449.unknown

_990963534.unknown

_990881805.unknown

